SAMARTHYA 2026  •  IDEATHON PARTICIPANT

AeroChem

Sentinel

Field validation + judge readiness pack

WHAT THIS PACK PROTECTS A convincing prototype with honest boundaries. The dashboard uses real satellite basemaps and current CAMS model context. It does not claim a connected local sensor, a validated ward-level forecast, or measured intervention impact.

Use this pack in three moments

| BEFORE THE EVENT | DURING THE DEMO | AFTER APPROVAL |
| --- | --- | --- |
| Assign roles, rehearse 90 seconds, print five interview sheets. | Show live context → sensor site → intervention → feasibility. | Run the 12-week co-location and validation plan before local claims. |

Current evidence snapshot

• Live Open-Meteo/CAMS values: US AQI 50, PM₂.₅ 6.5 µg/m³, PM₁₀ 11.9 µg/m³, modeled HCHO 1.3 µg/m³ and NO₂ 4.5 µg/m³ at 22:30 IST on 08 Aug 2026.

• Regional CAMS global grid is approximately 45 km; use it for context, not street-level proof.

• Recommended first-sensor site score (87/100) is a transparent planning heuristic, not measured pollution evidence.

• Intervention percentages are illustrative sandbox outputs, not forecasts.

LIVE DEMO  →  sumitpawar2006.github.io/aerochem-sentinel

COMMUNITY EVIDENCE

Five-interview field sheet

Goal: collect structured local priorities without pretending that perception equals a pollution measurement. Ask permission, avoid sensitive personal data, and summarize themes anonymously.

Interview script (3–5 minutes)

☐ Which place and time feels most affected by smoke, dust or traffic fumes?

☐ Who is most exposed there—children, patients, workers, commuters or residents?

☐ What visible activity might be linked: traffic, waste burning, industry, construction or something else?

☐ What action would you support for a 12-week pilot?

☐ May we record this answer anonymously in our ideathon evidence log?

One interview record

| Date / time | ____________________________ |
| --- | --- |
| Role (no name needed) | Resident / teacher / clinician / worker / civic staff / other |
| Place mentioned | ____________________________________________________________ |
| Time mentioned | Morning / afternoon / evening / night / seasonal |
| Suspected activity | Traffic / industry / waste / dust / other: __________________ |
| Most affected group | ____________________________________________________________ |
| Supported pilot action | ____________________________________________________________ |
| Anonymous use allowed | ☐ Yes ☐ No |

COMMUNITY SYNTHESIS

Five-interview evidence tracker

Complete one row after each conversation, then summarize patterns without identifying participants. This is community-priority evidence—not a substitute for calibrated measurements.

| # | ROLE | PLACE / TIME | PRIORITY | CONSENT |
| --- | --- | --- | --- | --- |
| 1 |  |  |  | ☐ |
| 2 |  |  |  | ☐ |
| 3 |  |  |  | ☐ |
| 4 |  |  |  | ☐ |
| 5 |  |  |  | ☐ |

Theme synthesis after five interviews

| Most repeated place / time | ________________________________________________ |
| --- | --- |
| Most exposed group | ________________________________________________ |
| Most repeated suspected activity | ________________________________________________ |
| Action with strongest support | ________________________________________________ |
| Important disagreement or minority view | ________________________________________________ |

SAFE CLAIM Five interviews can improve pilot design. They cannot establish pollution concentration, causality or city-wide representativeness. Use them to choose questions, access points and communication—not to manufacture validation.

FEASIBILITY

Pilot equipment + ₹1.86 lakh plan

PLANNING ASSUMPTION Build for PM evidence first. A calibrated particulate monitor, meteorology and co-location protocol are more defensible than adding an unvalidated low-cost HCHO module. Treat every amount below as editable—not a vendor quotation.

Recommended first-pilot stack

| COMPONENT / WORK | WHY IT EXISTS | ACCEPTANCE CHECK | PLAN ₹ |
| --- | --- | --- | --- |
| PM₂.₅/PM₁₀ monitor + controller + enclosure | Primary field evidence | Stable logging; documented flow path | 60,000 |
| Reference access + co-location + calibration | Converts readings into defensible evidence | Minimum 14 days paired data | 45,000 |
| Temperature / humidity + power + connectivity | Quality control and reliable uptime | >90% expected data capture | 20,000 |
| Mounting, site safety and installation | Repeatable inlet height and secure access | Permission + photo + coordinates | 15,000 |
| Hosting, maintenance and replacements | Keeps the pilot operational | Weekly QA log | 12,000 |
| Community briefings and reporting | Turns evidence into action | Two stakeholder reviews | 12,000 |
| Contingency | Covers approvals and component variation | Release only with team sign-off | 22,000 |
| EDITABLE YEAR-ONE TOTAL |  |  | ₹1,86,000 |

Procurement guardrails

☐ Request at least two written quotations before purchase.

☐ Record model number, serial number, firmware and calibration certificate.

☐ Do not publish HCHO/NO₂ as local observations unless the instrument and calibration support that claim.

☐ Obtain written site permission, a safe power plan and a maintenance owner.

EVIDENCE PLAN

Twelve-week calibration + validation

Outcome: a time-aware comparison between the pilot sensor and a defensible reference, with uncertainty visible in the dashboard. No model-validation badge should appear before these gates pass.

| WEEK | ACTIVITY | OUTPUT | GO / NO-GO GATE |
| --- | --- | --- | --- |
| 1 | Confirm site, permissions, inlet height and reference access | Site dossier | No installation without owner + safety approval |
| 2–3 | Co-locate and synchronize timestamps | Paired raw dataset | ≥90% uptime target; no silent gaps |
| 4 | Screen humidity, drift and outliers; freeze QA rules | QA log + exclusions | Exclusions documented before scoring |
| 5–6 | Fit calibration on training window only | Versioned calibration | No test-window leakage |
| 7–8 | Evaluate untouched test window | MAE, RMSE, R², bias | Publish failure as clearly as success |
| 9 | Estimate bootstrap confidence intervals | 95% intervals | Interval method and sample count shown |
| 10 | Deploy to recommended civic site | Field uptime + drift check | Recalibrate if drift threshold fails |
| 11 | Run one intervention observation window | Before / during / after record | Label as observation—not causal proof |
| 12 | Public review with school, clinic and civic users | Pilot report + next decision | Approve scale-up, repeat or stop |

Metrics to publish

| MAE | RMSE | R² | MEAN BIAS |
| --- | --- | --- | --- |
| _______ µg/m³ | _______ µg/m³ | _______ | _______ µg/m³ |

Confidence interval: calculate 95% bootstrap intervals on the untouched test window and show sample count, test dates and missing-data rate beside every score.

FIELD TEMPLATE

Validation data log

Use one row per synchronized timestamp or aggregation interval. Keep the raw file immutable; perform cleaning in a versioned copy.

| TIME | LAT/LON | SENSOR PM₂.₅ | REF PM₂.₅ | TEMP | RH | QA FLAG | NOTE |
| --- | --- | --- | --- | --- | --- | --- | --- |

Evidence checklist

☐ Raw CSV/JSON file saved with timezone and units

☐ Reference identity and calibration status recorded

☐ Missing periods and maintenance events listed

☐ Training and test dates frozen before evaluation

☐ MAE, RMSE, R², bias and 95% confidence intervals published

☐ Dashboard text distinguishes observed, modeled and simulated values

PRESENTATION MODE

90-second demo run-of-show

Keep the live dashboard as the main experience. One speaker drives; the others handle evidence and feasibility questions.

| TIME | OWNER | SCREEN / ACTION | ONE SENTENCE TO SAY |
| --- | --- | --- | --- |
| 0–12s | Khushi | Situation | Malegaon has regional atmospheric context but no verified local ground observations connected today. |
| 12–30s | Sumit | Live map + HCHO/NO₂ | The map is real; CAMS values are live model context, clearly separated from sensor evidence. |
| 30–48s | Vaishnavi | Best sensor site | Our transparent 87/100 heuristic chooses the first place that maximizes learning, not a fake hotspot claim. |
| 48–63s | Sumit | Intervention sandbox | Participants can test one traffic action; outputs are illustrative and labeled as such. |
| 63–78s | Khushi | Feasibility | A 12-week, ₹1.86 lakh pilot produces the first defensible local dataset. |
| 78–90s | All | Ask | Approve one calibrated sensor, one reference comparison and one public review. |

Team hand-off

• Khushi — problem, domain need, community impact and final ask.

• Vaishnavi — data pipeline, calibration logic, validation metrics and confidence intervals.

• Sumit — live dashboard, map layers, integration, report download and backup video.

RECOVERY LINE If live data or internet fails Say: “We have preserved the same six-slide, 90-second offline evidence path. The values shown are timestamped model context; no local reading is being claimed.”

REHEARSAL

Judge questions + strong answers

| 01 Is this real data? | Yes for the satellite basemap and current CAMS/Open-Meteo model context. No local ground sensor is connected yet, and the dashboard says so. |
| --- | --- |

| 02 Why should we trust the 87/100 sensor site? | It is a documented planning heuristic using access, sensitive-site coverage, proximity and the monitoring gap. The pilot verifies the decision in the field. |
| --- | --- |

| 03 Are the intervention reductions forecasts? | No. They are adjustable illustrative scenarios for discussion. Measured before/during/after evidence comes in the pilot. |
| --- | --- |

| 04 Why not claim Sentinel-5P HCHO on the map? | Sentinel-5P HCHO is a separate atmospheric column product. We do not relabel near-surface CAMS output as satellite HCHO. |
| --- | --- |

| 05 How will you prove accuracy? | Co-locate, freeze QA rules, separate training from test time, then publish MAE, RMSE, R², bias, sample count and 95% intervals. |
| --- | --- |

| 06 Can this scale? | Yes after validation: repeat the site-selection method, standardize the sensor package and add nodes only where each new sensor reduces uncertainty. |
| --- | --- |

| 07 What is the community benefit? | Schools, clinics and civic teams receive a five-minute local brief and evidence for choosing a targeted, reviewable intervention. |
| --- | --- |

| 08 What do you need now? | Approval and site access for one 12-week calibrated validation pilot with a ₹1.86 lakh editable planning envelope. |
| --- | --- |

Final pre-stage check

☐ Live GitHub Pages link opens on a phone

☐ Pitch deck and field pack download successfully

☐ Offline 90-second MP4 is copied to two devices

☐ Presentation mode opens and all three speakers know the recovery line